## Slide 1: Cloud Microphysics (ATM505 Module 4, 12 Apr 2023)
Cloud droplet formation (nucleation)
  Saturation vapor pressure of a droplet
    Surface tension term + Solute term = Kohler theory
Droplet growth by condensation
Dr. S. Lance

## Slide 2: Cloud droplet formation Saturation vapor pressure of a solution droplet:
at 90% RH
Deliquescence point of various atmospheric salts
(NH4)2SO4: 80% RH
NaCl: 75% RH
NH4NO3: 62% RH
Efflorescence point of various atmospheric salts
(NH4)2SO4: 36% RH
NaCl: 44% RH
NH4NO3: 0% RH
Notes: No clearly defined boundary – gives a visual clue whether it is a cloud or haze

## Slide 3: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Deliquesced Ammonium Sulfate aerosols reach equilibrium diameter (almost 2x dry particle diameter, at 90% RH) within ~1ms
Condensed water increases particle mass by substantially more than the initial particle mass, because
These haze particles are >75% water by mass (and >95% water by moles) at 90%RH
at 90% RH
Deliquescence point of various atmospheric salts
(NH4)2SO4: 80% RH
NaCl: 75% RH
NH4NO3: 62% RH
Notes: No clearly defined boundary – gives a visual clue whether it is a cloud or haze

## Slide 4: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Deliquesced Ammonium Sulfate aerosols reach equilibrium diameter (almost 2x dry particle diameter, at 90% RH) within ~1ms
Condensed water increases particle mass by substantially more than the initial particle mass, because
Even at only 60% RH with real atmospheric aerosols, water content can be ~30% of wet aerosol mass (Tsai and Kuo, 2005)
at 90% RH
Deliquescence point of various atmospheric salts
(NH4)2SO4: 80% RH
NaCl: 75% RH
NH4NO3: 62% RH
Notes: No clearly defined boundary – gives a visual clue whether it is a cloud or haze

## Slide 5: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Pop Quiz (just for fun)
What do you expect the dominant chemical component of ambient aerosols to be (on a mole basis, and sometimes even on a mass basis)?
(sort of a trick question)
Notes: No clearly defined boundary – gives a visual clue whether it is a cloud or haze

## Slide 6: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Pop Quiz (just for fun)
What do you expect the dominant chemical component of ambient aerosols to be (on a mole basis, and sometimes even on a mass basis)?
Obviously the answer is: Water! That’s what cloud microphysics is all about. It’s worth noting that water is found abundantly within particles, even when not in-cloud.
Later you should learn what it means, technically, to be “in-cloud”.
Notes: No clearly defined boundary – gives a visual clue whether it is a cloud or haze

## Slide 7: Cloud droplet formation Saturation vapor pressure of a droplet:
Equilibrium Saturation ratio for a droplet:
> (RH/100%)
Droplets require super-saturation to prevent evaporation
As (>10mm):
As :
H2O Saturated vapor pressure over a curved surface
H2O Saturated vapor pressure over a flat surface
Equilibrium vapor pressure (for a flat liquid surface):
Homogeneous nucleation (without pre-existing aerosol) requires more than 400% RH
Plot of the “Kelvin Equation”
For a curved surface (no solute):
1mm

## Slide 8: Cloud droplet formation Saturation vapor pressure of a droplet:
Homogeneous nucleation of pure water droplets requires supersaturation (i.e. ambient vapor pressures, , i.e. RH >> 100%) to bring about condensation and prevent evaporation
But we know that RH rarely exceeds 101% in the atmosphere.
Ambient s (0.2%)
Let’s say we have a pure water droplet “at equilibrium” (= )
At Equilibrium
(or Saturation):
Rate of evaporation = Rate of condensation
Plot of the “Kelvin Equation”
Equilibrium vapor pressure of a pure water droplet

## Slide 9: Cloud droplet formation Saturation vapor pressure of a droplet:
Homogeneous nucleation of pure water droplets requires supersaturation (i.e. ambient vapor pressures, , i.e. RH >> 100%) to bring about condensation and prevent evaporation
But we know that RH rarely exceeds 101% in the atmosphere.
Plot of the “Kelvin Equation”
Equilibrium vapor pressure of a pure water droplet
Ambient s (0.2%)
What happens if droplet grows just a little? (i.e. more H2O molecules condensing onto the droplet than H2O molecules evaporating from the droplet for an instant)
At Equilibrium
(or Saturation):
Rate of evaporation = Rate of condensation

## Slide 10: Cloud droplet formation Saturation vapor pressure of a droplet:
Homogeneous nucleation of pure water droplets requires supersaturation (i.e. ambient vapor pressures, , i.e. RH >> 100%) to bring about condensation and prevent evaporation
But we know that RH rarely exceeds 101% in the atmosphere.
Ambient s (0.2%)
DS= +0.15%
Droplet
equil. S (0.05%)
If droplet grows just a little, it will Keep Growing
>
condensation
Plot of the “Kelvin Equation”
Equilibrium vapor pressure of a pure water droplet
At Equilibrium
(or Saturation):
Rate of evaporation = Rate of condensation

## Slide 11: Cloud droplet formation Saturation vapor pressure of a droplet:
Homogeneous nucleation of pure water droplets requires supersaturation (i.e. ambient vapor pressures, , i.e. RH >> 100%) to bring about condensation and prevent evaporation
But we know that RH rarely exceeds 101% in the atmosphere.
Ambient s (0.2%)
DS= -0.4%
Droplet
equil. s (0.6%)
If droplet shrinks just a little, it will Keep Shrinking
<
evaporation
Plot of the “Kelvin Equation”
Equilibrium vapor pressure of a pure water droplet

## Slide 12: Cloud droplet formation Saturation vapor pressure of a droplet:
Homogeneous nucleation of pure water droplets requires supersaturation (i.e. ambient vapor pressures, , i.e. RH >> 100%) to bring about condensation and prevent evaporation
But we know that RH rarely exceeds 101% in the atmosphere.
Ambient s (0.2%)
DS= +0.15%
DS= -0.4%
Unstable equilibrium
If droplet grows just a little, it will Keep Growing
If droplet shrinks just a little, it will Keep Shrinking
Plot of the “Kelvin Equation”
Equilibrium vapor pressure of a pure water droplet

## Slide 13: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Recall that for pure H2O:
For liquid w/ solute:

As long as the solute does not affect the surface tension, then can simply combine these terms to get equation for vapor pressure over a solution droplet:
Taylor Series Expansion:
exp[x]1+x
Solute mole fraction
Again, note that:
exp[𝑎+𝑏]=exp[a]exp[b]
 “Köhler equation”
“Kelvin Term”
“Solute Term”

## Slide 14: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Rewriting:
For a dilute solution (
Van’t Hoff factor:
3 for (NH4)2SO4
2 for NaCl
= liquid water density (kg/m3)
= molecular weight of H2O (kg/mol)
= wet particle diameter (m)
= solute density (kg/m3)
= solute molecular weight (kg/mol)
= dry particle diameter (m)
Assuming that the wet particle is mostly H2O:

## Slide 15: Cloud droplet formation Saturation vapor pressure of a solution droplet:
From before:
continuing to simplify: and setting A to:
Note that the droplet radius, =
 “Köhler equation”
 Molar volume

## Slide 16: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Chart: Droplet Diameter (nm)
| 101 | 111.10000000000002 | 122.21000000000002 | 134.43100000000004 | 147.87410000000006 | 162.66151000000011 | 178.92766100000011 | 196.82042710000016 | 216.50246981000021 | 238.15271679100024 | 261.96798847010029 | 288.16478731711032 | 316.9812660488214 | 348.67939265370359 | 383.547331919074 | 421.90206511098137 | 464.09227162207958 | 510.50149878428755 | 561.55164866271639 | 617.70681352898805 | 679.47749488188697 | 747.42524437007557 | 822.16776880708323 | 904.38454568779161 | 994.82300025657082 | 1094.3053002822278 | 1203.7358303104506 | 1324.1094133414956 | 1456.5203546756454 | 1602.1723901432099 | 1762.3896291575309 | 1938.6285920732842 | 2132.4914512806126 | 2345.7405964086743 | 2580.314656049542 | 2838.3461216544961 | 3122.1807338199465 | 3434.3988072019411 | 3777.8386879221357 | 4155.6225567143492 | 4571.1848123857853 | 5028.3032936243644 | 5531.1336229868011 | 6084.246985285482 | 6692.671683814031 | 7361.9388521954343 | 8098.1327374149787 | 8907.9460111564767 | 9798.7406122721259 | 10778.614673499342 | 11856.476140849276 | 13042.123754934204 | 14346.336130427626 | 15780.969743470388 | 17359.066717817426
 | 0 | 57.1729 | 76.1778 | 85.3225 | 90.4934 | 93.686 | 95.7641 | 97.1626 | 98.1235 | 98.7919 | 99.2597 | 99.5872 | 99.8155 | 99.9729 | 100.0796 | 100.1497 | 100.1938 | 100.2193 | 100.2315 | 100.2346 | 100.2313 | 100.2238 | 100.2136 | 100.2018 | 100.1892 | 100.1762 | 100.1634 | 100.151 | 100.1391 | 100.1278 | 100.1172 | 100.1073 | 100.0981 | 100.0896 | 100.0818 | 100.0746 | 100.068 | 100.062 | 100.0564 | 100.0514 | 100.0468 | 100.0426 | 100.0387 | 100.0352 | 100.032 | 100.0291 | 100.0265 | 100.0241 | 100.0219 | 100.0199 | 100.0181 | 100.0165 | 100.015 | 100.0136 | 100.0124
Saturation vapor pressure (for a solution droplet):
Plot of the “Köhler Equation”
Curvature (Kelvin) Term
Solute (Raoult) Term
Remember that
=

## Slide 17: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Chart: Droplet Diameter (nm)
| 101 | 111.10000000000002 | 122.21000000000002 | 134.43100000000004 | 147.87410000000006 | 162.66151000000011 | 178.92766100000011 | 196.82042710000016 | 216.50246981000021 | 238.15271679100024 | 261.96798847010029 | 288.16478731711032 | 316.9812660488214 | 348.67939265370359 | 383.547331919074 | 421.90206511098137 | 464.09227162207958 | 510.50149878428755 | 561.55164866271639 | 617.70681352898805 | 679.47749488188697 | 747.42524437007557 | 822.16776880708323 | 904.38454568779161 | 994.82300025657082 | 1094.3053002822278 | 1203.7358303104506 | 1324.1094133414956 | 1456.5203546756454 | 1602.1723901432099 | 1762.3896291575309 | 1938.6285920732842 | 2132.4914512806126 | 2345.7405964086743 | 2580.314656049542 | 2838.3461216544961 | 3122.1807338199465 | 3434.3988072019411 | 3777.8386879221357 | 4155.6225567143492 | 4571.1848123857853 | 5028.3032936243644 | 5531.1336229868011 | 6084.246985285482 | 6692.671683814031 | 7361.9388521954343 | 8098.1327374149787 | 8907.9460111564767 | 9798.7406122721259 | 10778.614673499342 | 11856.476140849276 | 13042.123754934204 | 14346.336130427626 | 15780.969743470388 | 17359.066717817426
 | 0 | 57.1729 | 76.1778 | 85.3225 | 90.4934 | 93.686 | 95.7641 | 97.1626 | 98.1235 | 98.7919 | 99.2597 | 99.5872 | 99.8155 | 99.9729 | 100.0796 | 100.1497 | 100.1938 | 100.2193 | 100.2315 | 100.2346 | 100.2313 | 100.2238 | 100.2136 | 100.2018 | 100.1892 | 100.1762 | 100.1634 | 100.151 | 100.1391 | 100.1278 | 100.1172 | 100.1073 | 100.0981 | 100.0896 | 100.0818 | 100.0746 | 100.068 | 100.062 | 100.0564 | 100.0514 | 100.0468 | 100.0426 | 100.0387 | 100.0352 | 100.032 | 100.0291 | 100.0265 | 100.0241 | 100.0219 | 100.0199 | 100.0181 | 100.0165 | 100.015 | 100.0136 | 100.0124
Chart: Drop Diameter (mm)
| 0.10100000000000001 | 0.11110000000000002 | 0.12221000000000003 | 0.13443100000000005 | 0.14787410000000006 | 0.16266151000000009 | 0.17892766100000013 | 0.19682042710000017 | 0.21650246981000021 | 0.23815271679100025 | 0.26196798847010028 | 0.28816478731711032 | 0.31698126604882138 | 0.34867939265370357 | 0.38354733191907397 | 0.42190206511098138 | 0.46409227162207956 | 0.51050149878428752 | 0.56155164866271634 | 0.61770681352898804 | 0.67947749488188691 | 0.74742524437007563 | 0.8221677688070832 | 0.90438454568779159 | 0.99482300025657078 | 1.0943053002822278 | 1.2037358303104506 | 1.3241094133414957 | 1.4565203546756453 | 1.6021723901432099 | 1.7623896291575309 | 1.9386285920732842 | 2.1324914512806128 | 2.3457405964086742 | 2.5803146560495418 | 2.8383461216544963 | 3.1221807338199463 | 3.4343988072019411 | 3.7778386879221357 | 4.1556225567143494 | 4.571184812385785 | 5.0283032936243641 | 5.5311336229868013 | 6.0842469852854819 | 6.692671683814031 | 7.3619388521954345 | 8.0981327374149785 | 8.9079460111564774 | 9.7987406122721268 | 10.778614673499341 | 11.856476140849276 | 13.042123754934204 | 14.346336130427625 | 15.780969743470388 | 17.359066717817427
 | -100 | -42.8271 | -23.8222 | -14.6775 | -9.5066 | -6.314 | -4.2359 | -2.8374 | -1.8765 | -1.2081 | -0.74031 | -0.41277 | -0.18451 | -0.02709 | 0.079552 | 0.14975 | 0.19383 | 0.21928 | 0.23154 | 0.23459 | 0.23131 | 0.22381 | 0.2136 | 0.20179 | 0.18915 | 0.17624 | 0.16343 | 0.15098 | 0.13907 | 0.12778 | 0.11719 | 0.1073 | 0.098119 | 0.08963 | 0.081805 | 0.074611 | 0.06801 | 0.061964 | 0.056434 | 0.05138 | 0.046767 | 0.042559 | 0.038722 | 0.035226 | 0.032042 | 0.029143 | 0.026504 | 0.024102 | 0.021917 | 0.019928 | 0.01812 | 0.016475 | 0.014979 | 0.013619 | 0.012382
Saturation vapor pressure (for a solution droplet):
Plot of the “Köhler Equation”
Curvature (Kelvin) Term
Solute (Raoult) Term
Remember that
=
Saturation Ratio:
S = RH/100%

## Slide 18: Cloud droplet formation Saturation vapor pressure of a solution droplet:

## Slide 19: Cloud droplet formation Saturation vapor pressure of a solution droplet:
exp  Kelvin
exp  Raoult
Köhler
Curve

## Slide 20: Cloud droplet formation Saturation vapor pressure of a solution droplet:
exp  Raoult
Flat,
pure H2O
Small,
concentrated sol’n drop
Large, dilute sol’n drop
Köhler
Curve
Droplets become dilute as Raoult Term strongest for small droplets
Droplets become flat as Kelvin Term stronger for small droplets
exp  Kelvin

## Slide 21: Cloud droplet formation Saturation vapor pressure of a solution droplet:
exp  Raoult
Köhler
Curve
exp  Kelvin
Haze vs. Cloud Droplets: “unactivated” vs. “activated” droplets
This is a “hazy” distinction without physical interpretation of Köhler curves

## Slide 22: Cloud droplet formation Saturation vapor pressure of a solution droplet:
sc ~ 0.4%
sc = “critical supersaturation” of water vapor corresponding to an aerosol particle of size dp and composition k
Once the ambient humidity exceeds sc and droplets grow bigger than Dc, droplets are considered to have “activated” as cloud droplets
Dc
RH/100%
Supersaturation:
s = RH - 100%
Saturation Ratio:
S = RH/100%

## Slide 23: Cloud droplet formation Saturation vapor pressure of a solution droplet:
If ambient RH increases from 99.6% to 100.2%, droplets will grow reversibly, i.e. they will grow from Dp1 to Dp2 and then shrink back to Dp1 again if RH decreases back to 99.6%.
Droplets w/ (“Haze” droplets) are in equilibrium w/ H2O vapor
Dc
RH/100%
sc ~ 0.4%
Dp1
Dp2
Reversible
H2O
uptake
s1=
-0.4%
s2=
0.2%
Supersaturation:
s = RH - 100%
Saturation Ratio:
S = RH/100%

## Slide 24: Cloud droplet formation Saturation vapor pressure of a solution droplet:
However, if RH increases from 99.6% to 100.6% (thereby exceeding the critical supersaturation for this example), droplets will grow unstably until the ambient water vapor has been depleted.
As drop grows, decreases, so the ambient stays >
Dc
RH/100%
s1=
-0.4%
sc ~ 0.4%
Dp1
Dp2
Unstable growth
s2=
0.6%
Supersaturation:
s = RH - 100%
Saturation Ratio:
S = RH/100%

## Slide 25: Cloud droplet formation Saturation vapor pressure of a solution droplet:
sc ~ 0.4%
sc ~ 0.1%
sc ~ 0.03%
Increasing solute mass decreases sc, making it easier for particles to activate
Solute mass can increase if the dry particle diameter (dp) is larger or particles are more hygroscopic (or both, as in the case of sea spray aerosol)

## Slide 26: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Chart: Dp
| 0.10100000000000001 | 0.11110000000000002 | 0.12221000000000003 | 0.13443100000000005 | 0.14787410000000006 | 0.16266151000000009 | 0.17892766100000013 | 0.19682042710000017 | 0.21650246981000021 | 0.23815271679100025 | 0.26196798847010028 | 0.28816478731711032 | 0.31698126604882138 | 0.34867939265370357 | 0.38354733191907397 | 0.42190206511098138 | 0.46409227162207956 | 0.51050149878428752 | 0.56155164866271634 | 0.61770681352898804 | 0.67947749488188691 | 0.74742524437007563 | 0.8221677688070832 | 0.90438454568779159 | 0.99482300025657078 | 1.0943053002822278 | 1.2037358303104506 | 1.3241094133414957 | 1.4565203546756453 | 1.6021723901432099 | 1.7623896291575309 | 1.9386285920732842 | 2.1324914512806128 | 2.3457405964086742 | 2.5803146560495418 | 2.8383461216544963 | 3.1221807338199463 | 3.4343988072019411 | 3.7778386879221357 | 4.1556225567143494 | 4.571184812385785 | 5.0283032936243641 | 5.5311336229868013 | 6.0842469852854819 | 6.692671683814031 | 7.3619388521954345 | 8.0981327374149785 | 8.9079460111564774 | 9.7987406122721268 | 10.778614673499341 | 11.856476140849276 | 13.042123754934204 | 14.346336130427625 | 15.780969743470388 | 17.359066717817427
 | -100 | -42.8271 | -23.8222 | -14.6775 | -9.5066 | -6.314 | -4.2359 | -2.8374 | -1.8765 | -1.2081 | -0.74031 | -0.41277 | -0.18451 | -0.02709 | 0.079552 | 0.14975 | 0.19383 | 0.21928 | 0.23154 | 0.23459 | 0.23131 | 0.22381 | 0.2136 | 0.20179 | 0.18915 | 0.17624 | 0.16343 | 0.15098 | 0.13907 | 0.12778 | 0.11719 | 0.1073 | 0.098119 | 0.08963 | 0.081805 | 0.074611 | 0.06801 | 0.061964 | 0.056434 | 0.05138 | 0.046767 | 0.042559 | 0.038722 | 0.035226 | 0.032042 | 0.029143 | 0.026504 | 0.024102 | 0.021917 | 0.019928 | 0.01812 | 0.016475 | 0.014979 | 0.013619 | 0.012382
“Activation” of cloud droplets (heterogeneous nucleation)
Important because it divides droplets that are in stable equilibrium from those that are in unstable equilibrium (and will grow continually until water vapor is depleted)
If becomes larger than , a droplet can become larger than Dc and grow into a cloud droplet
Need actual values of Dc and
Find max in the Kohler curve!

## Slide 27: Cloud droplet formation Saturation vapor pressure of a solution droplet:
“Activation” of cloud droplets (heterogeneous nucleation)
Important because it divides droplets that are in stable equilibrium from those that are in unstable equilibrium (and will grow continually until water vapor is depleted)
If becomes larger than , a droplet can become larger than Dc and grow into a cloud droplet
Need actual values of Dc and
Find max in the Kohler curve!
Chart: Dp
| 0.10100000000000001 | 0.11110000000000002 | 0.12221000000000003 | 0.13443100000000005 | 0.14787410000000006 | 0.16266151000000009 | 0.17892766100000013 | 0.19682042710000017 | 0.21650246981000021 | 0.23815271679100025 | 0.26196798847010028 | 0.28816478731711032 | 0.31698126604882138 | 0.34867939265370357 | 0.38354733191907397 | 0.42190206511098138 | 0.46409227162207956 | 0.51050149878428752 | 0.56155164866271634 | 0.61770681352898804 | 0.67947749488188691 | 0.74742524437007563 | 0.8221677688070832 | 0.90438454568779159 | 0.99482300025657078 | 1.0943053002822278 | 1.2037358303104506 | 1.3241094133414957 | 1.4565203546756453 | 1.6021723901432099 | 1.7623896291575309 | 1.9386285920732842 | 2.1324914512806128 | 2.3457405964086742 | 2.5803146560495418 | 2.8383461216544963 | 3.1221807338199463 | 3.4343988072019411 | 3.7778386879221357 | 4.1556225567143494 | 4.571184812385785 | 5.0283032936243641 | 5.5311336229868013 | 6.0842469852854819 | 6.692671683814031 | 7.3619388521954345 | 8.0981327374149785 | 8.9079460111564774 | 9.7987406122721268 | 10.778614673499341 | 11.856476140849276 | 13.042123754934204 | 14.346336130427625 | 15.780969743470388 | 17.359066717817427
 | -100 | -42.8271 | -23.8222 | -14.6775 | -9.5066 | -6.314 | -4.2359 | -2.8374 | -1.8765 | -1.2081 | -0.74031 | -0.41277 | -0.18451 | -0.02709 | 0.079552 | 0.14975 | 0.19383 | 0.21928 | 0.23154 | 0.23459 | 0.23131 | 0.22381 | 0.2136 | 0.20179 | 0.18915 | 0.17624 | 0.16343 | 0.15098 | 0.13907 | 0.12778 | 0.11719 | 0.1073 | 0.098119 | 0.08963 | 0.081805 | 0.074611 | 0.06801 | 0.061964 | 0.056434 | 0.05138 | 0.046767 | 0.042559 | 0.038722 | 0.035226 | 0.032042 | 0.029143 | 0.026504 | 0.024102 | 0.021917 | 0.019928 | 0.01812 | 0.016475 | 0.014979 | 0.013619 | 0.012382

## Slide 28: Cloud droplet formation Saturation vapor pressure of a solution droplet:
“Activation” of cloud droplets (heterogeneous nucleation)
Important because it divides droplets that are in stable equilibrium from those that are in unstable equilibrium (and will grow continually until water vapor is depleted)
If becomes larger than , a droplet can become larger than Dc and grow into a cloud droplet
Need actual values of Dc and
Find max in the Kohler curve!
Chart: Dp
| 0.10100000000000001 | 0.11110000000000002 | 0.12221000000000003 | 0.13443100000000005 | 0.14787410000000006 | 0.16266151000000009 | 0.17892766100000013 | 0.19682042710000017 | 0.21650246981000021 | 0.23815271679100025 | 0.26196798847010028 | 0.28816478731711032 | 0.31698126604882138 | 0.34867939265370357 | 0.38354733191907397 | 0.42190206511098138 | 0.46409227162207956 | 0.51050149878428752 | 0.56155164866271634 | 0.61770681352898804 | 0.67947749488188691 | 0.74742524437007563 | 0.8221677688070832 | 0.90438454568779159 | 0.99482300025657078 | 1.0943053002822278 | 1.2037358303104506 | 1.3241094133414957 | 1.4565203546756453 | 1.6021723901432099 | 1.7623896291575309 | 1.9386285920732842 | 2.1324914512806128 | 2.3457405964086742 | 2.5803146560495418 | 2.8383461216544963 | 3.1221807338199463 | 3.4343988072019411 | 3.7778386879221357 | 4.1556225567143494 | 4.571184812385785 | 5.0283032936243641 | 5.5311336229868013 | 6.0842469852854819 | 6.692671683814031 | 7.3619388521954345 | 8.0981327374149785 | 8.9079460111564774 | 9.7987406122721268 | 10.778614673499341 | 11.856476140849276 | 13.042123754934204 | 14.346336130427625 | 15.780969743470388 | 17.359066717817427
 | -100 | -42.8271 | -23.8222 | -14.6775 | -9.5066 | -6.314 | -4.2359 | -2.8374 | -1.8765 | -1.2081 | -0.74031 | -0.41277 | -0.18451 | -0.02709 | 0.079552 | 0.14975 | 0.19383 | 0.21928 | 0.23154 | 0.23459 | 0.23131 | 0.22381 | 0.2136 | 0.20179 | 0.18915 | 0.17624 | 0.16343 | 0.15098 | 0.13907 | 0.12778 | 0.11719 | 0.1073 | 0.098119 | 0.08963 | 0.081805 | 0.074611 | 0.06801 | 0.061964 | 0.056434 | 0.05138 | 0.046767 | 0.042559 | 0.038722 | 0.035226 | 0.032042 | 0.029143 | 0.026504 | 0.024102 | 0.021917 | 0.019928 | 0.01812 | 0.016475 | 0.014979 | 0.013619 | 0.012382
Solving for

## Slide 29: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Physical Behavior:
As moles of solute rises (), size of activated droplet rises ()
As moles of solute rises (), vapor required to activate droplet falls ()

## Slide 30: Cloud droplet formation Saturation vapor pressure of a solution droplet:
Physical Behavior:
As moles of solute rises (), size of activated droplet rises ()
As moles of solute rises (), vapor required to activate droplet falls ()
Important for both droplet formation and condensational growth in the atmosphere

## Slide 31: Cloud droplet formation Saturation vapor pressure of a solution droplet:
RH/100%
Dp1
Dp2
Pop Quiz (just for fun)
What is the difference between a “haze” droplet and a cloud droplet?
Köhler
Curve

## Slide 32: Cloud droplet formation and Condensational Growth(Recap)
RH/100%
Dc
Pop Quiz (just for fun)
What is the difference between a “haze” droplet and a cloud droplet?
Nucleation
(“Activation”)
Sc
Unstable
Droplet Growth
Stable
(Reversible)
Droplet
Growth

## Slide 33: Cloud droplet formation and Condensational Growth(Recap)
RH/100%
Dc
What is the difference between a “haze” droplet and a cloud droplet?
“Haze” droplets are smaller (< Dc), and can exist at <100% RH & >100% RH
(but if RH <100%, only haze droplets can exist for significant amounts of time)
Nucleation
(“Activation”)
Cloud Droplet
“Haze” Droplet
Sc

## Slide 34: Cloud droplet formation and Condensational Growth(Recap)
RH/100%
Dc
What is the difference between a “haze” droplet and a cloud droplet?
Cloud droplets are generally more dilute, though it depends on dry particle size (dp), critical supersaturation (Sc), and how much time they have had to grow.
Nucleation
(“Activation”)
Cloud Droplet
“Haze” Droplet
Sc

## Slide 35: Cloud droplet formation and Condensational Growth(Recap)
RH/100%
Dc
Another Pop Quiz
What happens to a cloud droplet when humidity drops below Sc?
…and below 100% RH?
Nucleation
(“Activation”)
Cloud Droplet
“Haze” Droplet
Sc

## Slide 36: Cloud droplet formation and Condensational Growth(Recap)
RH/100%
Dc
Another Pop Quiz
What happens to a cloud droplet when humidity drops below Sc?  continue growing
…and below 100% RH?  evaporate (shrink back to their equilibrium size becoming haze droplets again)
Nucleation
(“Activation”)
Cloud Droplet
“Haze” Droplet
Sc
If RH >= 100%,

## Slide 37: Cloud droplet formation and Condensational Growth(Recap)
Overflowing glass of water, as an analogy:
Water level will rise and fall with the volume of water in the glass (reversibly, like a haze droplet swells and evaporates with RH), but once water level rises high enough to start spilling out (which is actually greater than the height of the glass, because it has to overcome surface tension), water will continue to spill out (unstably, like growth of cloud droplets at RH>100%) until the water level falls below the top edge of the glass again.
Haze
Cloud Droplet

## Slide 38: Droplet growth by condensation
Chart: Dry Particle size, dp (nm)
Aerosol Number (#/cm3)
Cloud droplet growth depends on:
Cooling rate of an air parcel
Aerosol Size Distribution
  In the atmosphere, soluble aerosol (CCN) are distributed in size
  Size has the biggest impact on the soluble mass that CCN contribute ()
Smallest CCN that activates in this particular cloud
Cloud Smax

## Slide 39: Droplet growth by condensation
Chart: Dry Particle size, dp (nm)
Aerosol Number (#/cm3)
Cloud droplet growth depends on:
Cooling rate of an air parcel
Aerosol Size Distribution
  Larger particles (with higher dry particle size, dp) have greater soluble material (Ns), and therefore activate at a lower critical supersaturation (Sc)
Smallest CCN that activates in this particular cloud
Cloud Smax
Few small aerosol
(low Ns)
Few large aerosol
(high Ns)
Ns too low
Sc too high

## Slide 40: Droplet growth by condensation
Chart: Dry Particle size, dp (nm)
Aerosol Number (#/cm3)
Cloud droplet growth depends on:
Cooling rate of an air parcel
Aerosol Size Distribution
  Larger CCN (with higher dry particle size, dp) have greater soluble material (Ns), and therefore activate at a lower critical supersaturation (Sc)
  Larger CCN activate first and form relatively large droplets
Smallest CCN that activates in this particular cloud
Cloud Smax
Ns too low
Sc too high

## Slide 41: Droplet growth by condensation
Chart: Dry Particle size, dp (nm)
Aerosol Number (#/cm3)
Cloud droplet growth depends on:
Cooling rate of an air parcel
Aerosol Size Distribution
  Smaller particles (with highest Sc) activate last, when there is less water vapor available for condensation
  Much of it has already condensed on larger particles!
  Smaller particles (in the same air parcel) tend to produce smaller droplets
Smallest CCN that activates in this particular cloud
Cloud Smax
Ns too low
Sc too high

## Slide 42: Cloud droplet formation - Recap Saturation vapor pressure of a solution droplet:
Chart: Droplet Diameter (mm)
| 5.3999999999999999E-2 | 5.9400000000000001E-2 | 6.5340000000000009E-2 | 7.1874000000000021E-2 | 7.9061400000000032E-2 | 8.6967540000000038E-2 | 9.5664294000000052E-2 | 0.10523072340000007 | 0.1157537957400001 | 0.12732917531400012 | 0.14006209284540014 | 0.15406830212994016 | 0.16947513234293418 | 0.18642264557722762 | 0.2050649101349504 | 0.22557140114844546 | 0.24812854126329001 | 0.27294139538961903 | 0.30023553492858096 | 0.33025908842143908 | 0.36328499726358304 | 0.39961349698994136 | 0.43957484668893554 | 0.48353233135782914 | 0.53188556449361213 | 0.5850741209429734 | 0.64358153303727084 | 0.70793968634099802 | 0.77873365497509783 | 0.85660702047260773 | 0.94226772251986857 | 1.0364944947718555 | 1.1401439442490411 | 1.2541583386739452 | 1.37957417254134 | 1.517531589795474 | 1.6692847487750215 | 1.8362132236525239 | 2.0198345460177767 | 2.2218180006195545 | 2.4439998006815102 | 2.6883997807496613 | 2.9572397588246275 | 3.2529637347070905 | 3.5782601081777998 | 3.93608611899558 | 4.3296947308951381 | 4.7626642039846523 | 5.2389306243831175 | 5.76282368682143 | 6.3391060555035734 | 6.973016661053931 | 7.6703183271593245 | 8.4373501598752583 | 9.2810851758627848
 | -100 | -31.667 | -15.3761 | -8.4307 | -4.7825 | -2.658 | -1.3495 | -0.51965 | 0.012372 | 0.35153 | 0.56254 | 0.68707 | 0.75279 | 0.77853 | 0.77729 | 0.75817 | 0.72755 | 0.68995 | 0.64851 | 0.60546 | 0.5623 | 0.52007 | 0.47944 | 0.44083 | 0.40448 | 0.3705 | 0.33891 | 0.30966 | 0.28268 | 0.25786 | 0.23507 | 0.21419 | 0.19508 | 0.17762 | 0.16168 | 0.14713 | 0.13387 | 0.12178 | 0.11078 | 0.10075 | 0.091628 | 0.083324 | 0.075768 | 0.068894 | 0.062642 | 0.056955 | 0.051783 | 0.047079 | 0.042803 | 0.038914 | 0.035378 | 0.032163 | 0.02924 | 0.026582 | 0.024166
Saturation vapor pressure (for a solution droplet):
 Köhler Equation
Curvature (Kelvin) Term
Solute (Raoult) Term
=
Haze
Particle
‘Activated’
Droplet
Sc

## Slide 43: Kappa-Köhler Theory
“A single parameter representation of hygroscopic growth and cloud condensation nucleus activity” – Petters and Kreidenweis, 2007
Without that assumption:
Previously assumed that the wet particle is mostly H2O:
k-Köhler equation
Chart: Droplet Diameter (mm)
| 5.3999999999999999E-2 | 5.9400000000000001E-2 | 6.5340000000000009E-2 | 7.1874000000000021E-2 | 7.9061400000000032E-2 | 8.6967540000000038E-2 | 9.5664294000000052E-2 | 0.10523072340000007 | 0.1157537957400001 | 0.12732917531400012 | 0.14006209284540014 | 0.15406830212994016 | 0.16947513234293418 | 0.18642264557722762 | 0.2050649101349504 | 0.22557140114844546 | 0.24812854126329001 | 0.27294139538961903 | 0.30023553492858096 | 0.33025908842143908 | 0.36328499726358304 | 0.39961349698994136 | 0.43957484668893554 | 0.48353233135782914 | 0.53188556449361213 | 0.5850741209429734 | 0.64358153303727084 | 0.70793968634099802 | 0.77873365497509783 | 0.85660702047260773 | 0.94226772251986857 | 1.0364944947718555 | 1.1401439442490411 | 1.2541583386739452 | 1.37957417254134 | 1.517531589795474 | 1.6692847487750215 | 1.8362132236525239 | 2.0198345460177767 | 2.2218180006195545 | 2.4439998006815102 | 2.6883997807496613 | 2.9572397588246275 | 3.2529637347070905 | 3.5782601081777998 | 3.93608611899558 | 4.3296947308951381 | 4.7626642039846523 | 5.2389306243831175 | 5.76282368682143 | 6.3391060555035734 | 6.973016661053931 | 7.6703183271593245 | 8.4373501598752583 | 9.2810851758627848
 | -100 | -31.667 | -15.3761 | -8.4307 | -4.7825 | -2.658 | -1.3495 | -0.51965 | 0.012372 | 0.35153 | 0.56254 | 0.68707 | 0.75279 | 0.77853 | 0.77729 | 0.75817 | 0.72755 | 0.68995 | 0.64851 | 0.60546 | 0.5623 | 0.52007 | 0.47944 | 0.44083 | 0.40448 | 0.3705 | 0.33891 | 0.30966 | 0.28268 | 0.25786 | 0.23507 | 0.21419 | 0.19508 | 0.17762 | 0.16168 | 0.14713 | 0.13387 | 0.12178 | 0.11078 | 0.10075 | 0.091628 | 0.083324 | 0.075768 | 0.068894 | 0.062642 | 0.056955 | 0.051783 | 0.047079 | 0.042803 | 0.038914 | 0.035378 | 0.032163 | 0.02924 | 0.026582 | 0.024166
Haze
Particle
‘Activated’
Droplet
Sc
k-Köhler applies for both haze and activated droplets
Approximation for Sc when k > 0.2:
Wet particle diameter
Dry particle diameter

## Slide 44: Kappa-Köhler Theory
“A single parameter representation of hygroscopic growth and cloud condensation nucleus activity” – Petters and Kreidenweis, 2007
Approximation for Sc when k > 0.2:
k-value can also be determined experimentally.
Important for complex mixtures for which the detailed composition is not known.

## Slide 45: Continuous-Flow Streamwise Thermal Gradient CCN Counter (CCNc)
Creates a ‘Cloud’, by generating a water vapor supersaturation (0.1% - 2.0 %)
= 100.1-102% RH
http://www.dropletmeasurement.com
based on the design by Roberts and Nenes [2005]
Notes: The inlet is split into aerosol and sheath flow. The sheath flow is filtered, humidified and heated. The aerosol flow is directed through the centerline of the column, and is surrounded by the annular sheath flow. The inner walls are maintained moist. a temperature gradient is applied to produce a supersaturation of water vapor in the CCN column, where the activated particles grow to become droplets, after which point they are detected with an optical particle counter at the exit of the column.

## Slide 46: Principle of Operation for the CCNc
Thermal diffusivity < Molecular diffusivity of water vapor
1.
2.
3.
4.
A
B
C
A
B
CCNc Column
Generates a Supersaturation
of water vapor (0.1% - 2.0 %)
laminar
flow
cold
hot
Same temperature
at C and A
Same H2O mixing ratio
at C and B
Notes: The next two facts rely upon the kinetics of mass transfer for heat and moisture from the walls to the centerline of the column.

## Slide 47: Principle of Operation for the CCNc
cold
hot
Particle counter,
1 um lower size cutoff
droplet
growth
droplet
activation
Generates a Supersaturation
of water vapor (0.1% - 2.0 %)
Thermal diffusivity < Molecular diffusivity of water vapor
1.
2.
3.
4.
Same temperature
at C and A
Same H2O mixing ratio
at C and B
Notes: Generates a supersaturation. Allows particles to activate and grow into cloud droplets. Counts the number of droplets formed.

## Slide 48: Calibration of the CCNc instrument supersaturation
Rose et al, Calibration and measurement uncertainties of a CCN counter, ACP, 2008
Typically use NaCl or Ammonium Sulfate particles of a given size as calibration aerosol

## Slide 49: Calibrating the CCNc Supersaturation
dp
Particle Diameter
NCN(dp)
Condensation
Nuclei
NCCN(S,dp)
Cloud
Condensation Nuclei
Activated NCCN(S,dp)
Fraction NCN(dp)
=
Notes: We can vary the particle size and supersaturation in the CCN counter to see how this affects the activated fraction. We performed size resolved CCN measurements in New Hampshire, Mexico, Finland and Greece.
If we scan the diameter, we can get an activation curve in diameter space. selecting one particle size we can also step through supersaturations to get activation curves in supersaturation space. If we have enough time we can step through a set of supersaturations and scan the diameter quickly at each supersaturation to get a very rich multidimensional dataset.

## Slide 50: Calibration with Ammonium Nitrate Aerosol
0.2% Supersaturation Setpoint
Activation diameter = 76 nm
Calibration Aerosol and CCN Size Distributions
CN

## Slide 51: Ambient Data from the WFM Summit
Ambient Aerosol and CCN Size Distributions
0.2% Supersaturation Setpoint
Activation diameter = 101 nm
CN

## Slide 52: Kappa-Köhler Theory
To determine kappa for ambient aerosol:
First check the instrument supersaturation (S=Sc), by using a known calibration aerosol (in this case ammonium nitrate, which is known to have a kappa of 0.77) and setting dp to the calibrated dry activation diameter
Then calculate kappa at this calibrated supersaturation, by setting the maximum S in the above k-Köhler equation to the calibrated S and setting dp to the measured dry activation diameter
Petters and Kreidenweis (2007)
Ammonium Nitrate Aerosol

dp = 76 nm
k = 0.77

## Slide 53: Kappa-Köhler Theory
Sc = 0.22%
To determine kappa for ambient aerosol:
First check the instrument supersaturation (S=Sc), by using a known calibration aerosol (in this case ammonium nitrate, which is known to have a kappa of 0.77) and setting dp to the calibrated dry activation diameter
Then calculate kappa at this calibrated supersaturation, by setting the maximum S in the above k-Köhler equation to the calibrated S and setting dp to the measured dry activation diameter
Petters and Kreidenweis (2007)
Determine:
Ammonium Nitrate Aerosol

dp = 76 nm
k = 0.77

## Slide 54: Kappa-Köhler Theory
Sc = 0.22%
k = 0.77
To determine kappa for ambient aerosol:
First check the instrument supersaturation (S=Sc), by using a known calibration aerosol (in this case ammonium nitrate, which is known to have a kappa of 0.77) and setting dp to the calibrated dry activation diameter
Then calculate kappa at this calibrated supersaturation, by setting the maximum S in the above k-Köhler equation to the calibrated S and setting dp to the measured dry activation diameter
Petters and Kreidenweis (2007)
Determine:
Ammonium Nitrate Aerosol

dp = 76 nm

## Slide 55: Kappa-Köhler Theory
Sc = 0.22%
To determine kappa for ambient aerosol:
First check the instrument supersaturation (S=Sc), by using a known calibration aerosol (in this case ammonium nitrate, which is known to have a kappa of 0.77) and setting dp to the calibrated dry activation diameter
Then calculate kappa at this calibrated supersaturation, by setting the maximum S in the above k-Köhler equation to the calibrated S and setting dp to the measured dry activation diameter
Petters and Kreidenweis (2007)
= 0.33
Solve for k:
dp = 101 nm
Ambient Aerosol


## Slide 56
Pop Quiz (just for fun):
If you have an Ammonium Nitrate calibration of the CCN counter that yields an activated fraction curve that looks like this 
(with the supersaturation set to 1%):
  A) What is the actual supersaturation in the CCN counter?
  B) What would the k-value be for ambient aerosol if the instrument were operated under these same conditions and the measured inflection point is at 54 nm?
Kappa-Köhler Theory
Dry particle diameter, nm
dp = 33nm
Note: Temperature of the calibrations and the ambient measurements is conducted at 278K

## Slide 57
A) 0.85% (lower than the setpoint, in this case since the ambient pressure is lower than 1 atm)
B) k = 0.17
Kappa-Köhler Theory
Dry particle diameter, nm
dp = 33nm
Note: Temperature of the calibrations and the ambient measurements is conducted at 278K
Pop Quiz (just for fun):
If you have an Ammonium Nitrate calibration of the CCN counter that yields an activated fraction curve that looks like this 
(with the supersaturation set to 1%):
  A) What is the actual supersaturation in the CCN counter?
  B) What would the k-value be for ambient aerosol if the instrument were operated under these same conditions and the measured inflection point is at 54 nm?